DECLARATION OF PERFORMANCE

no. 4-09-12-25

- Unique identification code of the product:

NOVERA EXTERIER

- Intended use:

Exterior render based on organic binders, intended for use on external walls and columns. Designed for manual application to create decorative surface finishes.

- Manufacturer:

NOVERA Technologies s.r.o. Václavské námĕsti 772/2, Nové Mĕsto, 110 00 Praha 1; Czech Republic

- Distributors:

Not applicable

- Systems of AVCP:

System 4

- Harmonized standard: EN 15824:2017 Specifications for external renders and internal plasters based on organic binders

Notified body: Not applicable

European Assessment Document: Not applicable

European Technical Assessment: Not applicable

Technical Assessment Body: Not applicable

Notified body: Not applicable

- Declared performances

| Essential characteristics | Performance | Harmonized technical specification |
| --- | --- | --- |
| Water vapour permeability | V2 | EN 15824:2017 |
| Water absorption | W3 |  |
| Adhesion to substrate | ≥ 0.3 MPa |  |
| Durability | NPD |  |
| Thermal conductivity | NPD |  |
| Reaction to fire | Class F |  |

The performance of the product identified above is in conformity with the set of declared performance/s. This declaration of performance is issued, in accordance with Regulation (EU) No 305/2011, under the sole responsibility of the manufacturer identified above.

Signed on behalf of the manufacturer: