DECLARATION OF PERFORMANCE

no. 3-09-12-25

- Unique identification code of the product:

NOVERA INTERIER

Interior thermal insulating and anti-condensation coating

- Intended use:

As a top coat in internal thermal insulation systems.

- Manufacturer:

NOVERA Technologies s.r.o. Václavské námĕsti 772/2, Nové Mĕsto, 110 00 Praha 1; Czech Republic

- Distributors:

Not applicable

- Systems of AVCP:

System 4

- Harmonized standard: EN 13300:2022 Paints and varnishes – paints and varnishes for interior walls and ceilings -- Classification

Notified body: Not applicable

European Assessment Document: Not applicable

European Technical Assessment: Not applicable

Technical Assessment Body: Not applicable

Notified body: Not applicable

- Declared performances

| Essential characteristics | Performance | Harmonized technical specification |
| --- | --- | --- |
| Gloss | Matt | EN 13300 |
| Adhesion | ≥ 0.3 MPa (pull-off test) |  |
| Maximum grain size | Fine |  |
| Hiding power | Class 1 |  |
| Wet scrub resistance | Class 2 |  |
| Water vapour permeability | Class V1 | EN ISO 7783-2 |
| Thermal conductivity | ≤ 0.10 W/(mK) | EN ISO 10456 |
| Reaction to fire | Class B-s1,d0 | EN 13501-1 |

The performance of the product identified above is in conformity with the set of declared performance/s. This declaration of performance is issued, in accordance with Regulation (EU) No 305/2011, under the sole responsibility of the manufacturer identified above.

Signed on behalf of the manufacturer: