DECLARATION OF PERFORMANCE

no. 1-09-12-25

- Unique identification code of the product:

NOVERA REFLEX

Highly reflective waterproofing coating

- Intended use:

As a top layer in external waterproofing and thermoreflective systems of buildings and structures.

- Manufacturer:

NOVERA Technologies s.r.o. Václavské námĕsti 772/2, Nové Mĕsto, 110 00 Praha 1; Czech Republic

- Distributors:

Not applicable

- Systems of AVCP:

System 4

System 3 - Waterproofing

- Harmonized standard: EN 1062-1:2005 Paints and varnishes - Coating materials and coating systems for exterior masonry and concrete.

Notified body: Laboratorium Chemii Budowlanej EFEKT Sp. z o.o. ; AB 1703

European Assessment Document: Not applicable

European Technical Assessment: Not applicable

Technical Assessment Body: Not applicable

Notified body: Not applicable

- Declared performances

| Essential characteristics | Performance |  | Harmonized technical specification |
| --- | --- | --- | --- |
| Resistance to external fire | BRoof (t1) |  | EN 13501-5+A1:2010 |
| Waterproof | No penetration |  | EN 1928:2002 EN 14891:2017-03 |
| Gloss | G2 | medium gloss | EN 1062 |
| Thickness | E5 | >400 µm |  |
| Grain size | S2 | medium >300 µm |  |
| Water vapor penetration | V3 | small ≤15 |  |
| Water permeability | W3 | small ≤0,1 |  |
| Covering cracks | A5 | >2500 µm |  |
| CO2 permeability | C0 | no requirements |  |

The performance of the product identified above is in conformity with the set of declared performance/s. This declaration of performance is issued, in accordance with Regulation (EU) No 305/2011, under the sole responsibility of the manufacturer identified above.

Signed on behalf of the manufacturer: